## SIO
0.082 | UCSD |  | Legend |  |  | Pier/Location Notes
Facility | SIO |  | Temporarily out of service |  |  | Conduit circumference (3 small together): 1.6 ft
Status | ok |  | Deployment |  |  | Conduit circumference (3 small plus 2 large): 4.4 ft
Last Svc | 2017-09-29 |  | Recovery
Last Swap | 2017-09-29 |  | Cleaned
Last CTD cal | 2017-03-25 |  | Missing data sheet
Pier clamp replaced | 2014-09-01
Comments: | Has UW pluggable
Date (mm/dd/yyyy) | CTD | Fl-meter | Pump | Other sensors | CTD Con File | Notes | Fluorometer CWO (V) | Fluorometer Scale Factor (ug/L/V) | Time
2002-03-01 | 4031 | SeaPoint 2405 |  | Trans= 485PR | 2001 Aug |  | 0 | 10
3/22&27/2002 | 4031 | 2405 |  | Trans= 485PR |  |  | 0 | 10
2002-05-06 | 4031 | 2405 |  | Trans= 485PR |  |  | 0 | 10
2002-05-10 | 4031 | 2405 |  | Trans= 485PR | 2001 Aug |  | 0 | 10
6/6/2002 data retrieval | 4031 | 2405 |  | Trans= 485PR |  |  | 0 | 10
2002-07-16 | 4031 | 2405 |  | Trans= 485PR |  |  | 0 | 10
2002-07-19 | 4031 | Deployed w/o Fl-meter |  | Trans= 485PR | 2001 Aug |  | 0 | 10
2002-08-16 | 4031 | no Fl-meter |  | Trans= 485PR |  |  | 0 | 10
2002-08-20 | 4031 | 2405 |  | Trans= 485PR | 2001 Aug |  | 0 | 10
9/3/2002 data retrieval | 4031 | 2405 |  | Trans= 485PR |  |  | 0 | 10
2002-10-28 | 4031 | 2405 |  | Trans= 485PR |  |  | 0 | 10
10/30/2002 data retrieval | 4031 | 2405 |  | Trans= 485PR |  |  | 0 | 10
12/16/2002 data retrieval | 4031 | 2405 |  | Trans= 485PR |  |  | 0 | 10
2003-01-07 | 4031 | 2405 |  | Trans= 485PR |  |  | 0 | 10
2003-01-10 | 4031 | 2342 |  | Trans= 413PR | 2001 Aug |  | 0 | 10
2/3/2003 data retrieval | 4031 | 2342 |  | Trans= 413PR |  |  | 0 | 10
2/27/2003 data retrieval | 4031 | 2342 |  | Trans= 413PR |  |  | 0 | 10
2003-05-14 | 4031 | 2342 |  |  |  |  | 0 | 10
2003-05-14 | 4368 | 2405 |  | Trans= 632PR | 2002 Dec |  | 0 | 10
2003-05-20 | 4031 | 2342 |  | Trans= 413PR | 2001 Aug |  | 0 | 10
6/16/2003 data retrieval | 4368 | 2405 |  | Trans= 632PR |  |  | 0 | 10
7/31/2003 data retrieval | 4368 | 2405 |  | Trans= 632PR |  |  | 0 | 10
2003-08-22 | 4368 | 2405 |  | Trans= 632PR |  |  | 0 | 10
2003-10-14 | 4368 | 2405 |  | Trans= 632PR |  |  | 0 | 10
2003-10-15 | 4368 | 2405 |  | Trans= 413PR | 2002 Dec |  | 0 | 10
11/6/2003 cleaned | 4368 | 2405 |  | Trans= 413PR |  |  | 0 | 10
12/2/2003 data retrieval | 4368 | 2405 |  | Trans= 413PR |  |  | 0 | 10
2003-12-04 | 4368 | 2405 |  | Trans= 413PR | 2002 Dec |  | 0 | 10
2003-12-04 | 4368 | 2405 |  | Trans= 413PR, OBS=2371 | 2002 Dec |  | 0 | 10
12/22/2003 data retrieval | 4368 | 2405 |  | Trans= 413PR, OBS=2371 |  |  | 0 | 10
2/10/2004 data retrieval | 4368 | 2405 |  | Trans= 413PR, OBS=2371 |  |  | 0 | 10
2004-01-07
3/5/2004 data retrieval | 4368 | 2405 |  | Trans= 413PR, OBS=2371 |  |  | 0 | 10
2004-03-08
2004-05-07 | 4368
5/7/2004 data retrieval | 4368 | 2405 |  | Trans= 413PR, OBS=2371 |  |  | 0 | 10
2004-07-01
2004-07-23 | 4368 | 2405 |  | Trans= 413PR |  |  | 0 | 10
2004-07-23 | 4031 | 2405 |  | Trans= 413PR | 2003 June |  | 0 | 10
2005-02-01 | 4031
2005-02-14 | 4370 |  |  |  | 2002 Dec
2005-04-21 | 4370
2005-04-26 | 4368 |  |  |  | 2004-08-01
6/30/2005 data retrieval | 4368
8/31/2005 data retrieval | 4368
9/2/2005?
2005-10-21
2005-12-13
2006-06-08
2006-09-26
5/15/2007 data retrieval | 4368
2007-05-15
2008-02-18 | 4368
2008-03-07 | 4369 |  |  |  | 2005-09-01
6/16-17/2008
8/11/2008 cleaned outside only
2009-05-22
2009-06-02
2009-07-08
2009-08-25 | 4369
2009-08-25 | 4368 |  |  |  | 2009-06-01
2009-11-03
2010-01-29
2/15/2010? sensor added |  |  |  | YSI sonde
2010-03-12
2010-03-19
2010-03-23 | 4368
2010-03-23 | 4031 | 2636 | 053171 |  | 2009-10-01 |  | 0 | 10
2010-05-05
2010-06-23
2010-08-17 | 4031 | 2636 | 053171 |  |  |  | 0 | 10
2010-08-17 | 4368 | 2629 |  |  | 2010-05-01 |  | 0 | 10
8/25/2010 data retrieval | 4031
2010-12-15
2011-04-15
2011-09-30
2011-10-12 | 4368
2011-10-04 | 4373 |  |  |  | 2010-10-01
2011-10-14 | 4368 |  |  | SeapHox | 2010-05-01
2011-11-03 |  |  |  | seapHOx recovery
2012-05-09 | 4368
2012-05-11 | 4368 | 3501 | 53538 |  | 2010-05-01
2012-06-22 | 4368 | 3501 | 53538
2012-07-06 | 4368 | 3501 | 53538
2012-07-11 | 4031 | 3501 | no s/n |  | 2009-10-01
2012-11-02 | 4031 | 3501 | no s/n
2012-11-06 | 4031 | 3501 | no s/n
11/9/2012 shut down | 4031 | 3501 | no s/n
2013-02-28 | 4031 | 3501 | no s/n
2013-02-26 | 4373 |  | 53171 | Turner Cyclops Fluorometer | 2012-10-01
5/9/2013 Turner Fluoro | 4373 |  | 53171
5/10/2013 swap pump & cable | 4373 |  | 56509 plus new shorter cable
2013-09-04 | 4373 |  | 56509
2013-11-14 | 4373
2013-12-06 | 4370 | 3501 only fluorometer with cap on it | 56509 2K |  | 2013-10-01
2014-02-19 | 4370 | 3501 | 56509
2014-03-04 | 4373 | 1459 | 90736 3K | Jaffe In-situ Zoop Microscope | 2013-12-01 |  | 0.049 | 16.1 | 19:22
2014-05-01 | 4373 | 1459 | 90736 | Jaffe In-situ Zoop Microscope |  |  | 0.049 | 16.1
2014-05-14 | 4373 | 1459 | 90736 | Jaffe In-situ Zoop Microscope |  |  | 0.049 | 16.1
2014-05-14 | 4373 | 1464 | 90736 |  |  | only changed Fl-meter | 0.068 | 15.1 | 21:54
2014-07-31 | 4373 | 1464 | 90736 |  |  |  | 0.068 | 15.1
2014-09-12 | 4373 | 1464 | 90736 |  |  |  | 0.068 | 15.1
2014-10-07 | 4373 | 1464* | 90736 |  |  | *Data sheet says Fl-meter 6445 | 0.068 | 15.1
2014-10-07 | 4369 | 1464 | 6445 5T 3K | Wetlabs flntu fluoromtr w biowiper | 2014-05-01 |  | 0.068 | 15.1
2014-12-19 | 4369 | 1464 | 6445 5T 3K | Wetlabs flntu fluoromtr w biowiper |  |  | 0.068 | 15.1
2015-03-11 | 4369 | 1464 | 6445 5T 3K | Wetlabs flntu fluoromtr w biowiper |  |  | 0.068 | 15.1
2015-03-11 | 4369 | 1464 | 6445 5T 3K | Jaffe Plankton and Zoop Cams | 2014-05-01 |  | 0.068 | 15.1
2015-07-10 | 4369 | 1464 | 6445 5T 3K | Jaffe Plankton and Zoop Cams |  |  | 0.068 | 15.1
2015-12-01 | 4369 | 1464 | 6445 5T 3K | Jaffe Plankton and Zoop Cams |  | recovered due to fouling; CTD facing south doesn't allow for enough flushing | 0.068 | 15.1
2017-04-14 | 4369 | 1464 | 6445 5T 3K | Jaffe Plankton and Zoop Cams |  |  | 0.068 | 15.1
2015-12-16 | 4031 | 1475 | 53171 | Jaffe Plankton and Zoop Cams | 2015-06-01 | New Cu screen on CTD outflow | 0.062 | 14.3 | 22:34
2016-01-15 | / | 1475 | 53171 | Jaffe Plankton and Zoop Cams |  | No fluoro soln. conduit needs rebanding | 0.062 | 14.3
2016-02-04 | 4031 | 1475 | 53171 | Jaffe Plankton and Zoop Cams |  | Worked to secure conduit | 0.062 | 14.3
2016-04-07 | 4031 | 1475 | 53171 | Jaffe Plankton and Zoop Cams |  | No screen on CTD inlet - NEED to ADD ASAP | 0.062 | 14.3
2016-04-20 | 4031 | 1475 | 53171 |  |  | Need to add top Band-It at low/low or high/high tide | 0.062 | 14.3
2016-05-19 | 4031 | 1475 | 53171 |  |  | Pump not working | 0.062 | 14.3
2016-05-19 | 4031 | 1475 | 53545 |  |  | Need to add top Band-It at low/low or high/high tide | 0.062 | 14.3
2016-07-14 | 4031 | 1475 | 53545 |  |  |  | 0.062 | 14.3
2016-07-14 | 4369 | 1464 | 53543 |  |  | Pump now powered independently | 0.068 | 15.8 | 20:54
2016-07-22 | 4369 | 1464 | 56509 |  |  | Pump replacement. New AC/DC converter @ 300mA | 0.068 | 15.8
2016-08-02 | 4369 | 1464 | 56509 |  |  | Pump replacement. Used Y cable on CTD. | 0.068 | 15.8
2016-08-02 | 4369 | 1464 | 53171 |  |  | Pump replacement. Used Y cable on CTD. | 0.068 | 15.8
2016-09-02 | 4369 | 1464 | 53171 |  |  |  | 0.068 | 15.8
2016-10-28 | 4369 | 1464 | 53171 |  |  | Fluoro stick broke underwater... will need to clean again soon. UPDATE: dove again 2 days later and cleaned fluoro. | 0.068 | 15.8
2016-12-20 | 4369 | 1464 | 53171 |  |  | Pump weak | 0.068 | 15.8
2017-02-02 | 4369 | 1464 | 53171 |  |  |  | 0.068 | 15.8
2017-02-02 | 4373 | 1461 | 58899 |  |  | New Logic: sampleinterval=240; ncycles=20; delaybeforesampling=55; delayaftersampling=150 | 0.082 | 20.1 | 0:02
2017-04-05 | 4373 | 1461 | 58899 |  |  |  | 0.082 | 20.1
2017-05-04 | 4373 | 1461 | 58899 |  |  |  | 0.082 | 20.1
2017-06-01 | 4373 | 1461 | 58899 |  |  |  | 0.082 | 20.1
2017-06-26 | 4373 | 1461 | 58899 |  |  |  | 0.082 | 20.1
2017-08-08 | 4373 | 1461 | 58899 |  |  | Only changed sampling logic. No Cleaning. Changed to: sampleinterval=240; ncycles=20; delaybeforesampling=30; delayaftersampiling=0. Change made at 20170808 20:06:20 UTC | 0.082 | 20.1
2017-08-16 | 4373 | 1461 | 58899 |  |  | Package should be replaced. | 0.082 | 20.1
2017-08-31 | 4373 | 1461 | 58899 |  |  | No cleaning. Downloaded data and ran some commands for SBE tech support. | 0.082 | 20.1
2017-09-29 | 4373 | 1461 | 58899 |  |  |  | 0.082 | 20.1
2017-09-29 | 4368 | 1459 | 53171 |  |  | New arrangement of CTD to allow for more flow underneath intake and around metal frame. Fluorometer off of plate (higher up) and pump blocked up with 2 blocks to ensure the tubing stays straight. Copper screen + intake piece replaced with nipple style intake and no copper screen. | 0.049 | 13.6 | 23:33
2017-11-01 | 4368 | 1459 | 53171 |  |  | Pump timing seemed a little strange | 0.049 | 13.6
2017-12-01 | 4368 | 1459 | 53171 |  |  | Broke and replaced fluorometer straw | 0.049 | 13.6
2018-01-06 | 4368 | 1459 | 53171 |  |  |  | 0.049 | 13.6
2018-02-08 | 4368 | 1459 | 53171 |  |  |  | 0.049 | 13.6
2018-02-08 | 4373 | 1465 | 58899 |  |  |  | 0.058 | 17.4 | 21:22
2018-03-06 | 4373 | 1465 | 58899 |  |  |  | 0.058 | 17.4
2018-04-24 | 4373 | 1465 | 58899 |  |  |  | 0.058 | 17.4
2018-06-05 | 4373 | 1465 | 58899 |  |  | lost bleach syringes and salt bottles | 0.058 | 17.4
2018-07-11 | 4373 | 1465 | 58899 |  |  |  | 0.058 | 17.4
2018-08-16 | 4373 | 1465 | 58899 |  |  |  | 0.058 | 17.4
2018-10-10 | 4373 | 1465 | 58899 |  |  |  | 0.058 | 17.4
2018-11-14 | 4373 | 1465 | 58899 |  |  |  | 0.058 | 17.4
2019-01-25 | 4373 | 1465 | 58899 |  |  |  | 0.058 | 17.4
2019-01-25 | 4031 | 1492 | 56509 |  |  |  | 0.07 | 16.2 | 22:40
2019-03-25 | 4031 | 1492 | 56509 |  |  | First cleaning of new Air blast system. | 0.07 | 16.2
2019-05-01 | 4031 | 1492 | 56509 |  |  |  | 0.07 | 16.2
2019-05-09 | 4031 | 1492 | 56509 |  |  |  | 0.07 | 16.2
2019-05-09 | 4031 | 1465 | 56509 |  |  | Expanded hole in air bleed valve using 1/16 bit. Swapped Fluoro and re-deployed. | 0.058 | 17.4 | 21:49
2019-06-12 | 4031 | 1465 | 56509 |  |  |  | 0.058 | 17.4
2019-07-15 | 4031 | 1465 | 56509 |  |  | Used pipe cleaners on fluorometer for first time. Works well | 0.058 | 17.4
2019-08-13 | 4031 | 1465 | 56509 |  |  |  | 0.058 | 17.4
2019-08-26 | 4031 | 1465 | 56509 |  |  |  | 0.058 | 17.4
2019-08-20 | 4373 | 1465 | 56509 |  |  | Bleaching Only | 0.058 | 17.4
2019-09-03 | 4373 | 1465 | 56509 |  |  | Bleaching Only | 0.058 | 17.4
2019-09-10 | 4373 | 1465 | 56509 |  |  | Bleaching Only | 0.058 | 17.4
2019-09-17 | 4031 | 1465 | 56509 |  |  |  | 0.058 | 17.4
2019-09-17 | 4373 | 1465 | 56509 |  |  | Swapped CTD (Left all else in place) | 0.058 | 17.4
2019-10-04 | 4373 | 1465 | 56509 |  |  | Bleaching Only | 0.058 | 17.4
2019-10-09 | 4373 | 1465 | 56509 |  |  | Bleaching Only | 0.058 | 17.4

## Newport Pier
Station | UCI |  | Legend |  |  | Pier/Location Notes
Facility | Newport Pier |  | Temporarily out of service |  |  | Conduit length= 22'6"
Status | ok |  | Deployment
Last Svc | 2017-03-29 |  | Recovery
Last Swap | 2017-02-15 |  | Cleaned
Last CTD cal | 2016-07-22 |  | Missing Data Sheets
Pier clamp replaced | 2012?
Comments: | ONLINE-pier clamp broke- 7/27/2010
Date (mm/dd/yyyy) | CTD | Fl-meter | Pump | Other sensors | Con File | Notes | Fluorometer CWO (V) | Fluorometer Scale Factor (ug/L/V) | Time
1/28/2004 | 4370 | SCF 2637 |  |  | 2002 Dec |  | 0 | 10
8/25/2004 | 4370 | SCF 2637 |  |  |  |  | 0 | 10
8/25/2004 | 4369 | 2637 |  |  | 2002 Dec |  | 0 | 10
6/9/2005 | 4369 | 2637 |  |  |  |  | 0 | 10
6/9/2005 | 4370 | 2637 |  |  | 2005-05-01 |  | 0 | 10
8/30/2005 | 4370 | 2637 |  |  |  |  | 0 | 10
8/30/2005 | 4370 | 2637 |  |  | 2005-05-01 |  | 0 | 10
Missing a Retrieval Data Sheet here? | [6 empty] | 0 | 10
6/27/2006 | 4372 | 2683 |  |  | 2006-03-01 |  | 0 | 10
11/1/2006 | 4372 | 2683 |  |  |  |  | 0 | 10
Missing a Retrieval Data Sheet here? | [6 empty] | 0 | 10
4/22/2008 | 4031 | 2637 |  |  | 2007-11-01 |  | 0 | 10
9/19/2008 | 4031 | 2637 |  |  |  |  | 0 | 10
5/19/2009 data retrieval | 4031 | 2637 |  |  |  |  | 0 | 10
9/9/2009 | 4031 | 2637 |  |  |  |  | 0 | 10
9/9/2009 | 4373 | 2637? |  |  | 2009-06-01 |  | 0 | 10
3/25/2010 | [6 empty] | 0 | 10
7/27/2010 | 4373 | 2637? |  |  |  | Pier clamp broke | 0 | 10
8/20/2010 | 4369 | 2636 | 53171 |  | 2009-09-01 |  | 0 | 10
8/25/2010 data retrieval | 4373 | [5 empty] | 0 | 10
6/12/2012 | 4369 | 2636 |  |  |  |  | 0 | 10
6/12/2012 | 4372 | 3500 | 6445 |  | 2011-12-01
8/28/2012 | 4372 | 3500 | 6445
11/27/2012 | 4372 | 3500 | 6445
11/27/2012 | 4372 | 3500 | 6445
11/27/2012 | 4369 | 3500 | 6445 |  | 2009-09-01 | new pump cable
5/16/2013 | 4369 | 3500 | 6445
Missing a Deployment Data Sheet here?
7/17/2013 | 4031
10/8/2013 | 4031 | cleaned & redeployed | 53171 (3k) |  | 2013-04-01
10/8/2013 | 4372 | 1459 | 6445 (2k) |  | 2013-08-01 |  | 0.049 | 16.1 | 20:18
12/12/2013 | 4372 | 1459 | 6445 (2k) |  |  |  | 0.049 | 16.1
2/12/2014 | 4372 | 1459 | 6445 (2k) |  |  |  | 0.049 | 16.1
2/12/2014 | 4368 | 1461 | 053171 (3k) |  | 2013-12-01 |  | 0.084 | 15.5 | 19:21
5/13/2014 | 4368 | 1461 | 053171 (3k) |  |  |  | 0.084 | 15.5
6/19/2014 | 4368 | 1461 | 053171 (3k) |  |  |  | 0.084 | 15.5
8/20/2014 | 4368 | 1461 | 053171 (3k) |  |  |  | 0.084 | 15.5
1/14/2015 | 4368 | 1461 | 053171 (3k) |  |  |  | 0.084 | 15.5
1/14/2015 | 4373 | NO RECORD OF SN! | 53543 (3k) |  | 2014-11-01 |  |  |  | 21:28
3/10/2015 | 4373 |  | 53543 (3k)
7/29/2015 | 4373 |  | 53543 (3k)
4/5/2016 | 4373 |  | 53543 (3k) |  |  | pulled wireless antennae, need to check raven, pulled underwater cable
4/21/2016 | 4372 | 1492 | 53171 |  | 2016-01-01 | Data available on computer so cable works but not online. Cellular antenna? Raven? | 0.072 | 15.2 | 19:28
5/25/2016 | 4372 | 1492 | 53171 |  |  | Routed through Matthew Ragan HFR | 0.072 | 15.2
6/28/2016 | 4372 | 1492 | 53171 |  |  |  | 0.072 | 15.2
8/12/2016 | 4372 | 1492 | 53171 |  |  |  | 0.072 | 15.2
9/27/2016 | 4372 | 1492 | 53171 |  |  |  | 0.072 | 15.2
10/10/2016 | 4372 | 1492 | 53171 |  |  |  | 0.072 | 15.2
10/10/2016 | 4368 | 1459 | 53545 | 02=1069 |  | Added O2 sensor. Not working properly. | 0.049 | 13.6
11/18/2016 | 4368 | 1459 | 53545 | 02=1069 |  |  | 0.049 | 13.6
12/14/2016 | 4368 | 1459 | 53545 | 02=1069 |  | Measured conduit @ 26'; Network issues due to large storms- data offline but collecting internally from 1/13/2017 to 1/25/2017 | 0.049 | 13.6
2/1/2017 | 4368 | 1459 | 53545 | 02=1069 |  | Pulled CTD. Need to replace conduits and pull cage for cutting. | 0.049 | 13.6
2/15/2017 | 4031 | 1465 |  | 02=1062 |  | Replaced conduits and cut bar off cage. O2 sensor working | 0.058 | 17.4 | 21:15
3/29/2017 | 4031 | 1465 |  | 02=1062 |  | Used Bleach and Triton x for cleaning with promising results. | 0.058 | 17.4
5/2/2017 | 4031 | 1465 |  | 02=1062 |  |  | 0.058 | 17.4
6/8/2017 | 4031 | 1465 |  | 02=1062 |  |  | 0.058 | 17.4
7/19/2017 | 4031 | 1465 |  | 02=1062 |  |  | 0.058 | 17.4
8/15/2017 | 4031 | 1465 |  | 02=1062; pH=8 |  | pH installed | 0.058 | 17.4
9/13/2017 | 4031 | 1465 |  | 02=1062; pH=8 |  | pH calibrated with TRIS for first time | 0.058 | 17.4
10/17/2017 | 4031 | 1465 |  | 02=1062; pH=8 |  |  | 0.058 | 17.4
11/21/2017 | 4031 | 1465 |  | 02=1062; pH=8 |  | Removed pH sensor. Left all cabling in place and capped with Wet-Pluggable. | 0.058 | 17.4
12/20/2017 | 4031 | 1465 |  | 02=1062; pH=8 |  |  | 0.058 | 17.4
2/2/2018 | 4031 | 1465 |  | 02=1062; pH=8 |  |  | 0.058 | 17.4
2/2/2018 | 4369 | 1461 |  | 02=1069; pH=8 |  |  | 0.082 | 20.1 | 22:55
3/1/2018 | 4369 | 1461 |  | 02=1069; pH=8 |  | pH values look odd... try replacing end cap with something other than copper. | 0.082 | 20.1
4/3/2018 | 4369 | 1461 |  | 02=1069; pH=8 |  |  | 0.082 | 20.1
5/16/2018 | 4369 | 1461 |  | 02=1069; pH=8 |  | Chlorophyll values not working on CTD... replaced CTD | 0.082 | 20.1
5/16/2018 | 4372 | 1461 |  | 02=1069; pH=8 |  | Replaced CTD. Changed sampling logic (SampleInterval=240; ncycles=20; DelayBeforeSampling=180; DelayAfterSampling=0. | 0.082 | 20.1
6/22/2018 | 4372 | 1461 |  | 02=1069; pH=8 |  |  | 0.082 | 20.1
7/31/2018 | 4372 | 1461 |  | 02=1069; pH=8 |  |  | 0.082 | 20.1
9/12/2018 | 4372 | 1461 |  | 02=1069; pH=8 |  | Pulled pH sensor. Reading low. | 0.082 | 20.1
10/3/2018 | 4372 | 1461 |  | 02=1069; pH=2 |  | New pH sensor deployed. | 0.082 | 20.1
11/16/2018 | 4372 | 1461 |  | 02=1069; pH=2 |  |  | 0.082 | 20.1
12/21/2018 | 4372 | 1461 |  | 02=1069; pH=2 |  | no copper screens on intake or outflow. Not bleached. | 0.082 | 20.1
2019-01-29 | 4372 | 1461 |  | 02=1069; pH=2 |  | fluoro needs to be replaced | 0.082 | 20.1
2019-03-07 | 4372 | 1461 |  | 02=1069; pH=2 |  | Conduits slid down pier piling and pinched long cable between the pier and the conduits... sensor stopped responding. Pulled sensor, cleaned, deploying soon. | 0.082 | 20.1
2019-03-14 | 4372 | 1464 |  | O2=1062; no pH |  | Repaired conduits. Replaced CTD package. Removed pH sensor. | 0.068 | 15.8 | 15:39
2019-04-03 | 4372 | 1464 |  | O2=1062; pH=8 |  | Installed newly calibrated pH sensor. | 0.068 | 15.8
2019-05-07 | 4372 | 1464 |  | O2=1062; pH=8 |  | Tested two different TRIS bottles. One previously opened. Used HCl after TRIS. | 0.068 | 15.8
2019-06-11 | 4372 | 1464 |  | O2=1062; pH=8 |  | Tested two different TRIS bottles. One previously opened. Used HCl after TRIS. | 0.068 | 15.8
2019-07-12 | 4372 | 1491 |  | O2=1062; pH=8 |  | Pulled CTD to replace Fluorometer with fluorometer 1491. Used opened TRIS bottle as a calibration sample. | 0.06 | 16.7 | 18:39
2019-08-07 | 4372 | 1491 |  | O2=1062; pH=2 |  | Swapped pH sensor | 0.06 | 16.7
2019-09-13 | 4372 | 1491 |  | O2=1062; pH=8 |  | Swapped pH sensor | 0.06 | 16.7
2019-10-03 | 4372 | 1491 |  | O2=1062; pH=2 |  | Swapped pH sensor | 0.06 | 16.7

## Santa Monica
Station | UCLA |  | Legend
Facility | Sta Monica Pier |  | Temporarily out of service
Status | removed Sept 2015 |  | Deployment
Last Svc | 2015-09-02 |  | Recovery
Last Swap | 2015-05-20 |  | Cleaned
Last CT cal | 2015-05-20 |  | Missing Data Sheets
Pier clamp replaced | 2013-06-01
Comments: | CURRENTLY NON-OPERATIONAL; Has UW pluggable
Date (mm/dd/yyyy) | CTD | Fl-meter | Pump | Other sensors | Con File | Notes | Fluorometer CWO (V) | Fluorometer Scale Factor (ug/L/V) | Time
2004-05-08 | 4373 | 2629 |  |  | 2002-12-01 |  | 0 | 10
2005-04-14 | 4031 | 2636 |  |  | 2002-12-01 |  | 0 | 10
2005-11-15 | 4373 | 2636 |  |  | 2005-05-01 |  | 0 | 10
2006-06-28
2006-06-28
2008-09-18
2009-06-04 | 4372 |  |  |  | 2008-07-01
2009-09-23
2010-03-25
2010-10-14 | 4372
2010-10-14 | 4031 | 2637 |  |  | 2009-10-01 |  | 0 | 10
2012-01-13 | 4031 | 2637 |  |  |  |  | 0 | 10
6/10/2012 Data Retrieval | 4031 | 2637 |  |  |  |  | 0 | 10
2012-06-19 | 4031 | 2637 |  |  |  |  | 0 | 10
2012-06-19 | 4370 | 2629 | 053171 |  | 2012-03-01 |  | 0 | 10
2012-08-01 | 4370 | 2629 | 053171 |  |  |  | 0 | 10
2012-08-02 | 4369 | 2637 | 056509 |  | 2009-09-01 |  | 0 | 10
2012-11-27 | 4369 | 2637 | 056509 |  |  |  | 0 | 10
MISSING A RECOVERY ENTRY AND DATA SHEET HERE?
2013-04-06 | 4372 | 1465 | 053538 |  | 2011-12-01 | was 4372 recovered before 4/25, and 4369 deployed?
2013-04-25 | 4369 | 2637 | 056509 |  | 2009-09-01 |  | 0 | 10
2013-04-25 | 4370 | 2637 | 053543 |  | 2013-01-01 |  | 0 | 10
5/2/2013 replace power/data cable | 4370 | 2637 | 053543 |  |  |  | 0 | 10
2013-05-02 | 4370 | 2637 | 053543 |  | 2013-01-01 |  | 0 | 10
MISSING A RECOVERY ENTRY AND DATA SHEET HERE?
2013-07-08 | 4369 | cyclo-2180443 | 053543 |  | 2013-06-01
2013-07-17 | 4369 | cyclo-2180443 | 053543
2013-10-09 | 4369 | cyclo-2180443 | 053543
January Recovery | 4369
January Deployment | 4368 |  | 053538 (2k) |  | 2013-12-01
2014-04-08 | 4369 | cyclo-2180443 | 053538 (2k)
2014-04-08 | 4372 | wetstar 1465 | 053538 (2k) |  |  | Cannot find paperwork for deployment. Cap file says date= 4/4/2014... not 4/8/2014. Maybe the CTD was running from 4/4-4/8?? If this is the case, which it seems to be, then we do not have a time for the new deployment except that it is after 16:26:36 on 4/8/14 | 0.058 | 15.4 | 16:27
2014-05-05 | 4372 | wetstar 1465 | 053538 (2k) |  |  |  | 0.058 | 15.4
2014-06-19 | 4372 | wetstar 1465 | 053538 (2k) |  |  |  | 0.058 | 15.4
2014-08-20 | 4372 | wetstar 1465 | 053538 (2k) |  |  |  | 0.058 | 15.4
2014-11-25 | 4372 | wetstar 1465 | 053538 (2k) |  |  |  | 0.058 | 15.4
2015-03-10 | 4372 | wetstar 1465 | 053538 (2k) |  |  |  | 0.058 | 15.4
2015-09-02 | 4372 | wetstar 1465 | 053538 (2k) |  |  |  | 0.058 | 15.4
NON-OPERATIONAL PERIOD
2018-06-22 | 4368 | 1491 | 53545 |  |  | CTD deployed but Raven not working 100% properly. First data point came through 6/22/2018 @ 01:29:00 but CTD was deployed on 6/20/2018 logging internally. | 0.06 | 16.7 | 1:29
2018-07-30 | 4368 | 1491 | 53545 |  |  |  | 0.06 | 16.7
2018-08-14 | 4368 | 1491 | 53545 |  |  |  | 0.06 | 16.7
2018-09-11 | 4368 | 1491 | 53545 |  |  |  | 0.06 | 16.7
2019-06-27 | 4368 | 1491 | 53545 |  |  | CTD recovered. 2-3 months without cleaning because of dive platform rebuild. | 0.06 | 16.7
2019-06-27 | 4370 | 1461 | 53543 |  |  | CTD deployed. Added air blaster but not turned on. Fluorometer calibrated on high scale instead of mid-range...consider changing? | 0.083 | 27 | 22:41
2019-08-14 | [5 empty] | cleaned and new fluoro added
2019-09-25 | [5 empty] | Tom and Michael cleaned

## Stearns Wharf
Station | UCSB |  | Legend
Facility | Stearns Wharf |  | Temporarily out of service
Status | ok |  | Deployment
Last Svc |  |  | Recovery
Last Swap |  |  | Cleaned
Last CT cal |  |  | Missing data sheet
Pier clamp replaced | 10/2014
Comments: | now maintained by UCSB
Date (mm/dd/yyyy) | CTD | Fl-meter | Pump | Other sensors | Con File | Notes | Fluorometer CWO (V) | Fluorometer Scale Factor (ug/L/V) | Time
| 4368? | 2634 |  | 789PR |  |  | 0 | 10
2004-02-05 | 4372 | 2634 |  |  | 2002 Dec |  | 0 | 10
2011-06-21 | 4370 |  |  |  | 2010 Dec
10/4/2011 data retrieval station uncertain | 4373 |  |  |  | 2010-09-01
11/4/2011 data retrieval station uncertain | 4372 |  |  |  | 2008 July
2012-01-12 | 4373 | 3055 |  |  | 2011-12-01

## Inventory
Inventory of CTDs and sensors
Logic for each CTD on 4min sampling intervals
Sensor | Location | Comment | version | sampling interval | ncycles | delay | old setup | UCSD ID #
CTD 4370 | SVH | Recieved from SBE 4/9/19 | V2 | 240 | 20 | 200 | 1.8D, 10 interval, 28 cycles, 208 delay
CTD 4372 | NB | Deployed at NB 5/16/2018 | V2 | 240 | 20 | 180 | 1.8D, 120 interval, 120ncycles, 83delay
CTD 4368 | SVH | Recovered from SIO 2/8/2018 | V2 | 240 | 20 | 0
CTD 4031 | NB | Deployed 2/15/2017 | V2
CTD 4373 | SVH | Recieved from SBE 4/9/19 | V2 | 240 | 20 | 0
CTD 4369 | SVH | Calibrated and ready for deployment | V2 | 240 | 20 | 200 | 1.6A, 10 interval, 28 ncycles, 208 delay.
Fluorometer | Location | Notes | Date Purchased | UCSD ID |  |  | Additonal notes
WSCHL-1459 | SVH | Recovered from SIO 2/8/2018 | 2013-10-01 |  |  |  | returned 6/5/14- no saturation values, repaired and returned 8/1/14
WSCHL-1465 | SVH | Recoverd from NB 2/2/2018 | 2014-03-27 |  |  |  | 20170105 Working well
WSCHL-1464 | SB | Sent to SB 9/18/2017
WSCHL-1475 | SVH | [5 empty] | 20170105 Working well
WSCHL-1461 | NB | Deployed at NB 2/2/2018 | 2013-12-18 |  |  |  | 20170105 Working well
WSCHL-1492 | SVH | rec'd early october 2017 | 2016-01-06
WSCHL-1491 | SVH | received from SB early 2017 | 2016-01-06
WSCHL-1476 | SVH | recovered 7/14/2016
Pump | Location | Notes | version |  |  |  | Additonal notes
53171 | SVH | rec'd early october 2017 | 3K |  |  |  | 20181220- confirmed that it is 3k. Needs service. Potentially motor replacement.
53545 | SVH | recovered from NB 2/1/2017 | 3k |  |  |  | 20170209 Works well but not as strong as 5P, 3K versions
56445 | SB | sent 9/19/2017 | 3K
53538 | SVH Lab |  | 2K |  |  |  | 20170105 Not working well- weak flow
53543 | SVH | recovered from SIO 7/22/2016- potentially fried | 3K |  |  |  | 20170105 Working well
56509 | SVH | recovered from SIO 8/2/2016- potentially fried | 3K |  |  |  | 20170105 Working well | 20181220- converted to 3k
58899 | SIO | Deployed at SIO 2/2/2017 | 3k |  |  |  | 20170105 working well
Cables | Location | Notes | Recieved
171352-1 | NB | Deployed 4/22/2016
171352-2 | SB | Shipped out to SB 5/24/2016 | 2016-05-13
171352-3 | SVH | Checked on 6/8/2016 | 2016-05-13
171352-4 | SVH | Rec'd with CTD 4373 V2 upgrade | 2016-06-30

## SBE 63 O2
START TIME | SERIAL NUMBER | CALIBRATION DATE | A0 | A1 | A2 | B0 | B1 | C0 | C1 | C2 | E | TA0 | TA1 | TA2 | TA3
2017-02-15 21:15 | 1062 | 20150701 | 1.0513 | -0.0015 | 0.36705 | -0.19565 | 1.5666 | 0.10553 | 0.0044254 | 5.6166e-05 | 0.011 | 0.00066844 | 0.000261 | -3.1721e-07 | 1.35e-07
2018-02-02 22:55 | 1069 | 20150701 | 1.0513 | -0.0015 | 0.33684 | -0.20567 | 1.5444 | 0.10978 | 0.0046656 | 6.3253e-05 | 0.011 | 0.00070064 | 0.00025188 | 5.6367e-07 | 1.0663e-07

## pH_NBPier
pH Sensor at Newport Beach Pier
output from pH sensor = “raw” data
1,508,0.019,0.019,20354,0.776,0.776
Which translates to:
serial#, pH_counts, pH voltage, pH w/ cal applied, temp_counts, thermistor voltage, therm w/ cal applied
Current Calibration Coefficients and Constants:
pH_slope = 0.00000730816 (7.30816E6)
pH_intercept = 0.013636
temp_slope = 0.001567
temp_intercept = -5.69775
E0 = -0.40629
Ts = 293.18
R = 8.31451
F = 96487
***Please keep in mind these coefficients will change when the unit is calibrated again in ~6 months or 1 year.***
Equations:
TempK = temp_counts * temp_slope + temp_intercept + 273.15
E0t = E0 - 0.001 * (TempK - Ts)
ST = R * tempK * ln(10) / F
Vo = pH_counts * pH_slope + pH_intercept
pH = (Vo - E0t) / ST

## pH_NBPier_Coef
start_time | pH_slope | pH_intercept | temp_slope | temp_intercept | E0 | Ts | R | F | Ta | Tb | Tc | SerialNumber
2017-08-10 21:48 | 7.3082e-06 | 0.013636 | 0.001567 | -5.6978 | -0.40629 | 293.18 | 8.3145 | 96487 | NaN | NaN | NaN
2018-02-01 | 7.3082e-06 | 0.013636 | 0.0013464 | -2.6517 | -0.39975 | 293.76 | 8.3145 | 96487 | NaN | NaN | NaN
2018-10-03 09:43 | 0.0071321 | 15.5896 | NaN | NaN | -0.42702 | NaN | 8.3145 | 96487 | -2.5577e-08 | 0.0022035 | -9.2554
2019-04-03 | 7.3082e-06 | 0.013636 | 0.0015669 | -5.6977 | -0.40243 | 292.27 | 8.3145 | 96487 | NaN | NaN | NaN
2019-09-13 | 7.3082e-06 | 0.013636 | 0.0015669 | -5.6977 | -0.40243 | 292.27 | 8.3145 | 96487 | NaN | NaN | NaN
2019-10-03 | 7.1321e-06 | 0.01559 | 0.0013666 | -2.8114 | -0.39563 | 292.26 | 8.3145 | 96487 | NaN | NaN | NaN

## ToDo_LIST
List of To Dos for SASS
MLC | Look at current QA/QC defined tests and provide input on how to improve
MLC | Provide S/D info on chlorophyll range for Seapoint and WetLAbs Sensors
MLC | Add Bad station table to outline dates where flags need to be manually inserted becuase of instrument failure, sand levels, etc
MLC | Send S/D preliminary QA/QC test ranges for pH and O2
MLC | Provide oxygen standard name and long names
ALL | Make each station use defined port for data transfers
WishList | Changes data frames on SIO, Stearns Wharf to turn off channels not used
WishList | Add O2, pH and nutrient sensors to all stations
Notes from SB setup -200 delay, 20 measures, 240 interval